- Town of Mansfield, Connecticut

- 2025 Annual report

- Permit number: GSM000116

March 2, 2026

DRAFT

- Contents

1.0	Introduction	1

2.0	Part I - Summary of Minimum Control Measure Activities	1

2.1	MCM #1 - Public Education and Outreach	1

2.1.1	MCM #1 - BMP Summary	1

2.1.2	Planned Public Education and Outreach Activities Planned	1

2.2	MCM #2 – Public Involvement / Participation	1

2.2.1	MCM #2 - BMP Summary	1

2.2.2	Public Involvement / Participation Activities Planned	1

2.3	MCM #3 – Illicit Discharge Detection and Elimination	1

2.3.1	MCM #3 – BMP Summary	1

2.3.2	List of Citizen Reports	1

2.3.3	Summary of Illicit Discharges and SSOs	1

2.3.4	Tracking Methodology	1

2.3.5	Failing Septic Systems	1

2.3.6	IDDE Reporting Metrics	1

2.3.7	IDDE Training	1

2.4	MCM #4 – Construction Site Stormwater Runoff Control	1

2.4.1	MCM #4 – BMP Summary	1

2.5	MCM #5 – Post-Construction Stormwater Management	1

2.5.1	MCM #5 – BMP Summary	1

2.5.2	Post-Construction Stormwater Management Reporting Metrics	1

2.5.3	DCIA Baseline	1

2.6	MCM #6 – Pollution Prevention / Good Housekeeping	1

2.6.1	MCM #6 – BMP Summary	1

2.6.2	Pollution Prevention / Good Housekeeping Metrics	1

2.6.3	Catch Basin Cleaning Program	1

2.6.4	Retrofit Program	1

3.0	Impaired Waters Investigation and Monitoring	1

3.1	Impaired Waters Investigation and Monitoring Program	1

3.2	Screening Data for Outfalls to Impaired Waterbodies	1

3.3	Follow-up Investigations	1

3.4	Prioritized Outfall Monitoring	1

3.5	Assessment and Priority Ranking of Catchments	1

3.6	Outfall and Interconnection Screening and Sampling Data	1

3.6.1	Dry Weather Screening and Sampling Data from Outfalls and Interconnections	1

3.6.2	Wet Weather Sample and Inspection Data	1

3.7	Catchment Investigation Data	1

3.7.1	System Vulnerability Factor Summary	1

4.0	Certification	1

# Introduction

This Annual Report provides the public and regulators with the Town’s efforts to comply with the conditions of the Connecticut Department of Energy and Environmental Protection’s General Permit for the Discharge of Stormwater from Small Municipal Storm Sewer Systems (General Permit). In the following sections the Town will provide updates on activities performed associated with the 6 Minimum Control Measures (MCM).

| Stormwater Program Permit Information |  |
| --- | --- |
| - Permitting Authority: State of CT Department of Energy & Environmental Protection |  |
| - Permit Number: GSM000116 | - Permit Type: General |
| - Permit Name: General Permit for the Discharge of Stormwater from Small Municipal Separate Storm Sewer Systems |  |
| - Date Issue: September 29, 2023 | - Date Expire: September 30, 2025 (Extended Administratively) |

| General Information for MS4 Operator |  |
| --- | --- |
| - Operator Name: | Town of Mansfield Department of Public Works |
| - Represented Entity: |  |
| - Mailing Address: | 4 South Eagleville Road |
| - Mail City, State, Zip: | Mansfield, CT 06268 |
| - Phone Number: | (860)-429-3331 |
| - Email Address: | PublicWorks@mansfieldct.org |
| - Population: 25,853 | - Area (sq. mi): 45.5 |
| - Official Website: | http://www.mansfieldct.gov |

| General Information for Primary Contact Person |  |
| --- | --- |
| - Name: | Derek M. Dilaj, P.E. |
| - Title: | Assistant Town Engineer |
| - Phone Number: | 860-429-3334 |
| - E-Mail Address: | Derek.Dilaj@mansfieldct.org |

| General Information for Secondary Contact Person |  |
| --- | --- |
| - Name: | John C. Carrington, P.E. |
| - Title: | Public Works Director |
| - Phone Number: | 860-429-3332 |
| - E-Mail Address: | John.Carrington@mansfieldct.org |

# Part I - Summary of Minimum Control Measure Activities

The Town currently has many practices and programs in place relating to stormwater management and pollution prevention. This annual report provides an update on the program outlined in the Stormwater Management Plan (Plan) drafted by the Town in March 2017. The Plan identified best management practices (BMPs) and measurable goals for the following six minimum control measures:

- Public education and outreach

- Public involvement / participation

- Illicit discharge detection and elimination

- Construction site stormwater runoff control

- Post-construction stormwater management

- Pollution prevention/good housekeeping

For each minimum control measure, the Town will define appropriate BMP’s, designate a person(s) and job title responsible for each BMP, define a time frame for implementation for each BMP, and define measurable goals for each BMP.

## MCM #1 - Public Education and Outreach

The Town initiated a program for educating a wide range of individuals, from elementary school children to developers. Programs included a tabletop demonstration for elementary school children to see how rainfall collects pollutants through various land uses and how it impacts the water bodies.  This program was completed last year by the Assistant Director of Public Works.

The Town publishes a Quarterly Newsletter in which departments write articles covering various topics. Historically, the Public Works writes articles and updates its website indicating why untreated stormwater is problematic. And further why actions taken at home or during their daily lives directly impact stormwater and the receiving waters. The Town has continued replacing catch basin tops with new tops indicating “Drains to Waterway” reminding residents that anything entering the catch basin drains to a stream.

## MCM #1 - BMP Summary

| BMP | Activities in current reporting period | Sources Used (if applicable) | Method of Distribution | Audience (and number of people reached) | Measurable goal | Department / Person Responsible | Additional Details |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1-1 Launch of Webpage | Completed |  |  | Residents and Students with Web Access (13,000+) | Completion | Asst. Town Engineer/ IT |  |
| 1-2 Update Website as Appropriate | Updated Website to include Septic System Guidelines & Pet Waste | NEMO Website and EPA MS4 | Online, Paper and Electronic Newsletters |  | Update twice per year | Asst. Town Engineer/ IT |  |
| 1-3 Accumulate Educational Materials | Identified potential ordinance for LID Maintenance | NEMO Website and EPA MS4 |  |  | Accumulate 5 materials per year | Asst. Town Engineer / Inland Wetlands Agent |  |
| 1-4 Begin Public Education Program | Drinking Water Watershed Health Stormwater Education Program for School Children Rain Garden Installation Brochure Water Quality Demonstration Projects Quarterly Newsletter | Windham Water Works Eastern Conservation District (ECD) P&Z Applicants ECD, EPA, CTDEEP ECD | In-Person, Virtual, Physical and digital pamphlets | Students (150+) Students (30+) Developers, Homeowners (100+) Residents, Visitors (500+) Residents (13,000+) | Complete 2 Educational Programs per Year | Asst. Town Engineer / Inland Wetlands Agent / EHHD Outreach |  |
| 1-5 Address Education for Pollutants of Special Concern | Quarterly Newsletter | EPA, ECD, Chesapeake Bay Program | Online, e-mail, social media, paper | Residents and Students with Web Access (13,000+) |  | Asst. Town Engineer / Sustainability Coordinator / Inland Wetlands Agent |  |

## Planned Public Education and Outreach Activities Planned

The Town will continue publishing the Quarterly Newsletter which will provide the Department an opportunity to further explain septic system maintenance and cleaning up after pets all of which impact stormwater quality.  These actions will assist in reducing bacteria loads to surface water bodies. The Town is preparing signage for the Mansfield Elementary School providing the opportunity to educate passersby of the stormwater management systems being employed at the School to treat stormwater before being infiltrated. This past year the Town coordinated with the Windham Water Works and University of Connecticut to create opportunities for 7th grade students to visit the water treatment and wastewater treatment plants.  The students were exposed to the impacts of stormwater on our drinking water watersheds and the impacts of our actions within watersheds.

## MCM #2 – Public Involvement / Participation

The Town posted the Plan by March 31, 2017 for public comment and this annual report on March 2, 2026 to provide adequate time for public comment.  The Plan was presented to various commissions and committees for feedback. The annual report was made available through the Town’s website and Town Hall.

## MCM #2 - BMP Summary

| BMP | Status | Activities in current reporting period | Measurable goal | Department / Person Responsible | Date Completed or Projected Completion | Posted | Additional Details |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2-1 Provide Notification and Obtain Public Comment for SWMP | Complete | Provide a Minimum 60 day Notice to the Public and Obtain Public Comment for SWMP | Completion | Public Works Specialist | April 3, 2017 | DPW Office / https://www.mansfieldct.gov/2015/Stormwater |  |
| 2-2 Provide Notification and Obtain Public Comment for Annual Reports | Complete | Noticed | Completion | Public Works Specialist | March 2, 2026 | DPW Office / https://www.mansfieldct.gov/2017/MS4-Annual-Reports |  |

## Public Involvement / Participation Activities Planned

The Town continues working with the Town’s Conservation Commission and Planning and Zoning Commission to actions for the MS4 permit and stormwater concerns.

## MCM #3 – Illicit Discharge Detection and Elimination

This minimum control measure is critical to the success of the stormwater management program as it will identify and reduce untreated discharges that contribute high levels of pollutants, including heavy metals, toxic materials, oil and grease, solvents, nutrients, viruses and bacteria to receiving water bodies and prevent further illicit discharges in the future. The Town has initiated an IDDE tracking system to receive Citizen Concerns and monitor the status of known illicit discharges. For the upcoming year, the Town will be reviewing existing ordinances to verify that legal authority has been established over illicit discharges and utilize the IDDE plan template provided by CTDEEP to draft a written IDDE plan. In addition, the Town has initiated a program to map the MS4.

## MCM #3 – BMP Summary

| BMP | Status | Activities in current reporting period | Measurable goal | Department / Person Responsible | Date completed or projected completion date | Additional Details |
| --- | --- | --- | --- | --- | --- | --- |
| 3-1 Develop record keeping system for IDDE tracking | Complete | Utilizing Mobile311 | - | Asst. Town Engineer / EHHD Director of Health | April 25, 2017 |  |
| 3-2 Develop Citizen Reporting Program | Complete | Mobile 311 has now taken place of Q-Notify allowing for Public Works to be directly notified | Initiate response to citizen concerns within 72 hours 95% of the time. | Department of Public Works | June 30, 2018 |  |
| 3-3 Develop written IDDE | Complete | Plan is in use and being refined | Completion | Asst. Town Engineer / EHHD Director of Health | June 30, 2019 |  |
| 3-4 Establish legal authority to prohibit illicit discharges | Complete | Public Hearing and Approval at June 10, 2019 | Completion | Town Council / Town Manager / Public Works Department | June 30, 2019 |  |
| 3-5 Initial Illicit Discharge Assessment and Prioritization | Complete | Completed Priorization | Completion | Asst. Town Engineer / EHHD Director of Health | June 30, 2019 |  |
| 3-6 Address IDDE in areas with pollutants of concern | Ongoing | Sampling is being conducted with priority to Impacted Water Bodies | Completion | Asst. Town Engineer / EHHD Director of Health | June 30, 2019 |  |
| 3-7 Develop list and maps of all MS4 stormwater outfalls in priority areas | Complete | Town has completed mapping | Completion | Department of Public Works | June 30, 2020 |  |
| 3-8 Complete MS4 Mapping | On-Going with updates | Town has mapped approximately 100% of the stormwater system and updates as portions are repaired / replaced | Inspect 30 miles of road per year | Department of Public Works | June 20, 2022 |  |

## List of Citizen Reports

| Date of Report | Location / suspected source | Response taken |
| --- | --- | --- |
| 10/25/2017 | 24” RCP outfall on eastern edge of Cedar Swamp Brook at Route 44 | Requested photo from citizen, Citizen indicated cloudy appearance, conducted field visit (water running clear), discussed with UConn since this outfall was replaced under the Discovery Drive Construction. |
| 3/26/2018 | 18” CMP outfall to unnamed stream to Sawmill Brook | A white discharge was observed by a resident. The Town investigated upstream and noted a white discharge from a hose that was laid into a Town catch basin. The hose conveyed wash water from the milking parlor of the dairy farm. This was due to a collapsed pipe in their system which was subsequently repaired. |
| 10/14/2018 | 6” PVC Pipe Discharging to Eagleville Brook adjacent to North Eagleville Road on UConn Property | UConn was contacted for an odor complaint. UConn contacted the Town indicating they obtained samples from a 6” PVC pipe that discharges to a headwall with positive results of E-Coli and Coliform. Upon recommendation from EHHD samples for Phosphorous, Ammonia, and Surfactants were to be obtained however, when sample was attempted flow had ceased from the pipe. Follow ups by UConn will occur. |
| 12/27/2022 | Catch Basin at Corner of Route 195 & Route 320 / Swale from Cumberland Farms | EHHD completed inspection of the site based upon information from CTDOT. Additional work documented below. |
| 11/20/2024 | Failed glue joint within the manhole structure at the White Oak Condominium Complex | Drainworks was able to identify the issue |
| 9/25/2024 | Odor detected from Crane Hill Rd to Browns Rd. | Issue at hand: TBD |
| 7/17/2024 | Inquiring to complete an application process to connect Cumberland Farms on 1660 Storrs Rd to the public sewers | The property has now been connected to sanitary sewer and is considered closed. |

## Summary of Illicit Discharges and SSOs

| Location (Lat long/ street crossing /address and receiving water) | Date and duration of occurrence | Discharge to MS4 or surface water | Estimated volume discharged | Known or suspected cause / Responsible party | Corrective measures planned and completed (include dates) | Sampling data (if applicable) |
| --- | --- | --- | --- | --- | --- | --- |
| 74°14’16”/41°48’16” | Identified 4/18/15 (7 Days) | MS4 | Unknown | Plumbing Contractor | Ceased use of station and completed re-plumbing of hand wash station. |  |
| 72°12’08”/41°44’10” | Identified 7/25/17 | Private | Unknown | Property Owner | Ceased use of facilities and replaced failed pump |  |
| 72°13’55”/41°45’01” | Identified 3/26/2018 (1 Day) | MS4 | Unknown | Property Owner | Repaired failed facility |  |
| 72°16’01”/41°49’42” | Identified 12/27/2022 (6 Days) | MS4 | Unknown | Property Owner | Leaching Field is failing and property owner is moving to connect to public sanitary sewer however, EHHD is requiring regular pumping of septic tank which is being used as holding tank |  |
| 72°15’00”/41°46’23” | Identified (11/20/2024) (1 Day) | Surface Water | Unknown | Passerby | Drainworks was able to located the failed glue joint within the manhole structure |  |

## Tracking Methodology

The Town utilizes a 311 application to provide a mechanism to track IDDE based on location and eventual outfall location. Citizens are able to add specific work items (or requests) that specifically get routed to the Engineering Division. This allows for that division to coordinate with Eastern Highlands Health District and if necessary, the Building Department. The Public Works Department moved to Asset Essentials which continues to provide a portal for the Public to input potential IDDEs.

## Failing Septic Systems

| Location and nature of structure with failing septic systems | Actions taken to respond to and address the failures | Impacted waterbody or watershed, if known |
| --- | --- | --- |
| 1660 Storrs Road, Cumberland Farms Gas Station, Leaching Field is Failing | Property has been connected to sanitary sewer | 3100-17-1, Cedar Swamp Brook |

## IDDE Reporting Metrics

| Metrics |  |
| --- | --- |
| Estimated number of MS4 outfalls | 254 |
| Estimated number of interconnections | 26 |
| Outfall mapping complete | 100% |
| Interconnection mapping complete | 100% |
| System-wide mapping complete (detailed MS4 infrastructure) | 100% |
| Outfall assessment and priority ranking | 100% |
| Dry weather screening of all High and Low priority outfalls complete | 8 |
| Catchment investigations complete | 1 |
| Estimated percentage of MS4 catchment area investigated | 15% |

## IDDE Training

The Town conducts regular training of Facilities crews on a yearly basis about safe handling and disposal of materials, which could lead to illicit discharges. The Department of Public Works provided training for the Operations Division to identify and report illicit discharges and operating procedures for activities at parks, buildings, and roadways in Winter 2020. Further, the Department continuously trains employees  on the objectives of the Stormwater Management Plan including catch basin cleaning, sweeping, green infrastructure, spill response protocols, and addressing erosion prone areas.  A new training will be scheduled for this coming year to assist with newly hired employees.

## MCM #4 – Construction Site Stormwater Runoff Control

This minimum control measure is a component of this SWMP because stormwater runoff from construction sites often flows to storm sewer systems and ultimately is discharged into local rivers and streams. Sediment is typically the main pollutant of concern but other pollutants include solid and sanitary wastes, phosphorous (fertilizer), pesticides, nitrogen (fertilizer), oil and grease, concrete truck washout, construction chemicals and construction debris. The goal of this minimum control measure is to reduce pollutants in stormwater runoff from construction activities.  The Town has integrated four of the five BMPs this year.  The remaining BMP is being introduced into the Town’s Zoning Regulations and Engineering Standards.

## MCM #4 – BMP Summary

| BMP | Status | Activities in current reporting period | Measurable goal | Department / Person Responsible | Date completed or projected completion date | Additional Details |
| --- | --- | --- | --- | --- | --- | --- |
| 4-1 State Permit Notification | Ongoing | Working with Permitting Vendor to add this as standard condition as required. | Inform 100% of Permits with Greater than 1.0 acre of requirements | Zoning Enforcement Officer | July 1, 2017 |  |
| 4-2 Public Involvement | Ongoing | Zoning Enforcement Officer investigates or involves individuals necessary to address public concerns. | Respond to public comment within 72 hours 95% of the time | Zoning Enforcement Officer | July 1, 2017 |  |
| 4-3 Conduct Site Inspections | Ongoing | Zoning Enforcement Officer conducts site visits as required. | Inspect all sites that meet applicable threshold | Zoning Enforcement Officer | July 1, 2017 |  |
| 4-4 Site Plan Review/Interdepartmental Coordination | Ongoing | The review team meets during the application process. | Complete update to zoning permit | Public Works Director / Director of Planning | July 1, 2017 |  |
| 4-5 Legal Authority | Complete | Reviewing Zoning regulations and Engineering Standards as necessary. | Completion | Planning and Zoning Commission / Director of Planning | June 30, 2020 |  |

## MCM #5 – Post-Construction Stormwater Management

Stormwater runoff from developed sites often flows to stormwater management systems, to MS4s, and ultimately is discharged into local rivers and streams. Runoff from these developments and/or redevelopment areas have been shown to significantly affect receiving water bodies. In accordance with the Plan, the Town updated its Zoning regulations to require LID be used a preferred means to address stormwater quality and quantity. This year, the Town through the mapping program identified additional stormwater management features. Operation and Maintenance plans are being developed and implemented for the bio-swales, wet-detention basins and bio-filters.

## MCM #5 – BMP Summary

| BMP | Status | Activities in current reporting period | Measurable goal | Department / Person Responsible | Due | Date completed or projected completion date |
| --- | --- | --- | --- | --- | --- | --- |
| 5-1 Enforce LID/runoff reduction requirements for development and redevelopment projects | On-Going | LID is considered in all permit reviews. | Completion | Director of Planning / Department of Public Works | July 1, 2022 | June 30, 2020 |
| 5-2 Implement long-term maintenance plan for stormwater basins and treatment structures | On-Going | Consolidating Operation & Maintenance Plans for Publically Owned Facilities & Evaluating Use of Private Service Agreements | Complete routine maintenance on 3 stormwater basins | Department of Public Works | July 1, 2020 | June 30, 2020 |
| 5-3 DCIA mapping | Complete | DCIA is mapped for the smallest HUC publically available | Completion | Department of Public Works | July 1, 2020 | June 30, 2020 |
| 5-4 Address post-construction issues in areas with pollutants of concern. | On-Going | Revised intersections of minor roadways to reduce impervious coverage when resurfacing | Complete at least 1 retrofit of issue areas per year | Department of Public Works | July 1, 2020 | June 30, 2020 |
| 5-5 Update legal authority and guidelines regarding LID and runoff reduction in site development planning | Complete | LID measures are required for most projects and encouraged for small scale projects | Completion | Planning & Zoning Commission | July 1, 2022 | June 15, 2020 |

## Post-Construction Stormwater Management Reporting Metrics

| Metrics |  |
| --- | --- |
| Baseline (2012) Directly Connected Impervious Area (DCIA) | 286.1 ac / 1.08% |
| DCIA disconnected (redevelopment plus retrofits) | 10.0 acres this year / 24.9 acres total |
| Retrofits completed (since 2012) | 22 |
| DCIA disconnected | 3.5% this year / 8.7% total since 2012 |
| Estimated cost of retrofits | $5,000 / Town |
| Detention or retention ponds identified | 3 this year / 22 total |

## DCIA Baseline

The Town utilized the Connecticut Watershed Response Plan for Impervious Cover Appendix 3 referenced on the CTDEEP Municipal Stormwater Page. This document further references the USEPA document “Estimating Change in Impervious Area (IA) and Directly Connected Impervious Areas (DCIA) for Massachusetts Small MS4 Permit. (updated April 2014).” The Town’s newer roadways are a combination of curb and gutter and sheet flow from the roadway. Several curb and gutter subdivisions constructed after 2004 were constructed with water quality components, namely retention basins, filtration basins, and bio-filters. Older roadways drain with sheet flow to the road edges. Lot sizes in the Town are mostly over 2 acres in size resulting in setbacks that minimize the number of roofs directly connected to the MS4. As a result, the DCIA is estimated utilizing Option 2 with a designation of “Average”. Where “Average” is mostly storm sewered with curb and gutter, no dry wells or infiltration, residential rooftops not directly connected.

The Town area without the area associated with the UConn MS4 is 26,540 acres. Based upon the 2012 Impervious area layer provided by CT Eco, within the Town MS4 borders and Connecticut DOT MS4, there are 1,295 acres of impervious area resulting in 4.88% impervious area. Utilizing the “partially connected” equation from UConn CLEAR the Directly connected percentage is 0.59% or 286.1 acres of directly connected impervious area.

## MCM #6 – Pollution Prevention / Good Housekeeping

This measure requires the Town to examine and subsequently alter its own actions to help ensure a reduction in the amount and type of pollution that collects on roadways, parking lots, open spaces, storage and vehicle maintenance areas, and all Town maintained facilities, and any other Town owned or leased operation which ultimately discharge into local waterways. The Town conducted several activities this year including a tracking system for DCIA and implementing a street sweeping program. In 2017 and 2021, the Town and the Eastern Conservation District applied for and were notified of an award for the project located in the Saw Mill Brook and Conantville Brook Watersheds.

The Town is budgeting for improved sidewalk maintenance equipment that can more accurately disperse and pace de-icing product onto the sidewalks and multi-use paths as these have been observed to have too much product applied.  The Public Works Department routinely calibrates spreaders on large and medium trucks so operators can be assured they are placing the amount of product they are expecting. Further, the Road Foreman and Operations Manager routinely monitor and discuss application rates with drivers to ensure the application of de-icing product is optimized.

## MCM #6 – BMP Summary

| BMP | Status | Activities in current reporting period | Measurable goal | Department / Person Responsible | Due | Date completed or projected completion date |
| --- | --- | --- | --- | --- | --- | --- |
| 6-1 Track projects that disconnect DCIA | Complete | Spreadsheet developed identifying project and methods | Completion | Asst. Town Engineer | July 1, 2017 | July 1, 2017 |
| 6-2 Develop/implement street sweeping program | Complete | Implemented Standard Operating Procedure | Completion | Operations Manager | July 1, 2018 | July 1, 2017 |
| 6-3 MS4 property and operations maintenance | Complete | Reviewing draft Standard Operating Procedure | Completion | Operations Manager | July 1, 2018 | June 30, 2018 |
| 6-4 Employee training program | Complete | Investigating alternatives for providing training in concurrence with IDDE | Completion | Public Works Director / Facilities Director | July 1, 2019 | June 30, 2019 |
| 6-5 Develop/implement plan to identify/prioritize retrofit projects | On-Going | Applying for 319 grant funding for retrofit projects | Completion | Public Works Director | July 1, 2020 | April 1, 2020 |
| 6-6 Develop/implement catch basin cleaning program | On-Going | On-going annual cleaning of catch basins | Inspect all Catch Basins within UA | Operations Manager | July 1, 2020 | June 30, 2020 |
| 6-7 Implement coordination with interconnected MS4s | On-Going | The Town meets with UConn periodically to discuss stormwater | Completion | Public Works Director | Not specified | June 30, 2020 |
| 6-8 Develop/implement program to control other sources of pollutants to the MS4 | In Progress |  | Completion | Public Works Director | Not specified | June 30, 2022 |
| 6-9 Evaluate additional measures for discharges to impaired waters | In Progress |  | Completion | Public Works Director | Not specified | June 30, 2022 |
| 6-10 Develop/implement snow management practices | On-Going | Continually monitoring application rates from each plow route | Reduce Salt Usage (Ton per Lane-Mile per Storm) by 1% by end of permit | Operations Manager | July 1, 2022 | June 30, 2022 |
| 6-11 Implement infrastructure repair/rehab program | On-Going |  |  |  |  |  |
| 6-12 Implement retrofit projects to disconnect 2% of DCIA | Complete | The Town continues to plan projects to reduce DCIA as Town projects are completed |  |  |  |  |

## Pollution Prevention / Good Housekeeping Metrics

| Metrics |  |
| --- | --- |
| Employee Training Provided for Key Staff | FY 2020/2021 |
| Street Sweeping |  |
| Curb Miles Swept | 232 |
| Volume (or mass) of material collected | 384 cy |
| Catch Basin Cleaning |  |
| Total catch basins in priority areas | 420 |
| Total catch basins in MS4 | 1,375 |
| Catch Basins Inspected | 1,375 |
| Catch Basins Cleaned | 1,375 |
| Volume (or mass) of material removed from all catch basins | 118 cy |
| Volume removed from catch basins to impaired waters (if known) | NA |
| Snow Management |  |
| Type(s) of deicing material used | Treated Salt |
| Total Amount of each deicing material applied | 2704 Tons (preliminary) |
| Type(s) of deicing equipment used | Sander Spreader |
| Lane-miles treated | 228 (14 Lane-Miles Gravel) |
| Snow disposal location | Transfer Station |
| Staff training provided on application methods & equipment | Yes – 2024 |
| Lands with high potential to contribute bacteria (dog parks, parks with open water, & sites with failing septics) |  |
| Cost of mitigation actions / retrofits | $4,000 |

## Catch Basin Cleaning Program

The Town has routinely cleaned catch basins throughout Town for several years because the Town historically has utilized sand/salt mix for snow removal operations on the Town’s right-of-way. The Town in 2016 moved to a treated salt only method of snow management. The DPW has continued a catch basin cleaning program that has identified several locations in Town that require increased cleaning frequency. The Town has identified areas that require additional attention during the cleaning process and periodically will clean those basins an additional time. The increased frequency locations are often from undeveloped areas. The Town is seeing some improvement from private properties with regards to projects but gravel driveways have resulted in sediment being transported to the roadway. The Town is continuing to investigate methods to reduce this occurrence. The Town continues to maintain approximately 14 miles of gravel road which are considered Scenic Roads. The Town is implementing increased cross slopes on these roadways and improving gutters. There are approximately 1,450 catch basins in the Town of Mansfield. This year the Town utilized its own forces and a subcontractor to clean these basins.

## Retrofit Program

The Town has begun planning for the Retrofit Program by inventorying Town properties that currently do not have disconnected stormwater components. Through this inventory data is being collected on total impervious area, total connected impervious area, available on-site soils, and expected long term use of the facility. Concurrently with the inventory of Town facilities, grant funding opportunities that allow for stormwater and/or water quality improvements to be made are investigated.

The Town has completed two stormwater retrofits at the Bicentennial Pond Park. These retrofits were two Rain Gardens partially funded with the Eastern Conservation District and Town resources. The Town routinely utilizes a strobe system to disturb waterfowl that sleep on the pond surface to discourage their presence with moderate luck.  Further research is needed to identify additional measures that can be implemented to discourage them.

The Southeast Elementary School was razed in 2022 for a new Net-Zero Elementary School. In 2023, the new Mansfield Elementary School was constructed utilizing low impact development practices. These practices include bio-retention, hydrodynamic separators, gravel diaphragms and sub-surface infiltration systems. The Town has included these new practices into the yearly maintenance schedule.

An expansion of the Mansfield Public Library Parking Lot in 2023 allowed for the treatment and infiltration of the existing impervious cover and additional coverage. In 2023, the Town and Eastern Conservation District installed new rain gardens at the Sunny Acres Park to address sediment and pollutant loadings from people walking dogs and impervious coverages.

With construction of pickleball courts at the Town Hall Complex, a portion of the driveway was removed to accommodate the new courts. Runoff from these courts is directed to an infiltration trench where the runoff is treated before treatment.

The Retrofit program will continue by identifying specific Municipal Properties that are currently discharging without treating the Water Quality Volume. As these are completed additional sites along the Town’s Right-of-Way will be identified by overlaying the USDA websoil survey, Town owned open space, impervious coverage, existing infrastructure, five paving plan and topography.

| Year | Project Description | Potential DCIA Disconnected (ac) |
| --- | --- | --- |
| 2025 | Hydrodynamic Separator - Spring Hill Road Outfall | ~1.2 ac |
| 2026 | Maple Road Reconstruction – LOTCIP Project | ~2.4 ac |
| 2027 | Mansfield Middle School Parking Lot Improvements | ~2.1 ac |
| 2027 | Hydrodynamic Separator – Puddin Lane Outfall | ~0.9 ac |
| 2028 | Hydrodynamic Separator – North Eagleville Road Outfall | ~0.7 ac |

# Impaired Waters Investigation and Monitoring

## Impaired Waters Investigation and Monitoring Program

Indicate which stormwater pollutants (s) of concern occur(s) in your municipality of institution

Nitrogen/ Phosphorus 	Bacteria  	Mercury  	Other Pollutant of Concern

Program Status:

The Town is comprised of five sub-regional watersheds, the Willimantic River, Fenton River, Mount Hope River, Natchaug River and Sawmill Brook. The Fenton River, Mount Hope River and portions of the Natchaug River are Surface Water Classification A and the remaining being Classification AA. For waterbodies impaired by Bacteria screening was conducted for E.Coli and Total Coliforms with Classification AA and only E.Coli for waterbodies with Surface Water Classification A.

Follow-up investigation is required if the following pollutant thresholds are exceeded:

•	E. coli > 235 col/100ml for swimming areas or 410 col/100ml for all others

•	Total Coliform > 500 col/100ml

## Screening Data for Outfalls to Impaired Waterbodies

| Outfall ID | Sample date | Parameter (Nitrogen, Phosphorus, Bacteria, or Other Pollutant of concern) | Results | Name of Laboratory | Follow-up required? |
| --- | --- | --- | --- | --- | --- |
| NEAGLERD-OT-001 | 4/26/19 | Bacteria, Other Pollutant of Concern | E. coli 213 col /100 ml | Phoenix Environmental | No |
| SEPARTSTRD-OT-001 | 4/26/19 | Bacteria, Other Pollutant of Concern | E. coli 256 col /100 ml | Phoenix Environmental | No |
| HILLYNRD-OT-007 | 4/26/19 | Bacteria, Other Pollutant of Concern | E. coli 63 col /100 ml | Phoenix Environmental | No |
| HILLYNRD-OT-001 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli 279 col /100 ml | Phoenix Environmental | No |
| HILLYNRD-OT-002 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli 1,350 col /100 ml | Phoenix Environmental | Yes |
| HILLYNRD-OT-004 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli 3,450 col /100 ml | Phoenix Environmental | Yes |
| HILLYNRD-OT-005 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli 794 col /100 ml | Phoenix Environmental | Yes |
| HILLYNRD-OT-006 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli <10 col /100 ml | Phoenix Environmental | No |
| HUNTINGRD-OT-001 | 6/13/19 | Bacteria, Other Pollutant of Concern | E. coli 17,300 col /100 ml | Phoenix Environmental | Yes |
| CONTVILLRD-OT-001 | 11/23/20 | Bacteria | E. coli 10 col /100 ml | Phoenix Environmental | No |
| TIMBERDR-OT-001 | 11/23/20 | Bacteria | E. coli 85 col /100 ml | Phoenix Environmental | No |
| THOMASDR-OT-002 | 11/23/20 | Bacteria | E. coli 153 col /100 ml | Phoenix Environmental | No |
| BIRCHRD-OT-001 | 6/14/21 | Bacteria | E. Coli 456 col / 100 ml | Phoenix Environmental | Yes |
| MANSFLD-OT-003 | 9/1/21 | Bacteria | E. Coli 906 col / 100 ml | Phoenix Environmental | Yes |
| DAVISRD-OT-004 | 9/1/21 | Bacteria | E. Coli 11,200 col / 100 ml | Phoenix Environmental | Yes |
| SPRINGRD-OT-001 | 9/1/21 | Bacteria | E. Coli >24,200 col / 100 ml | Phoenix Environmental | Yes |
| SPRINGRD-OT-002 | 9/1/21 | Bacteria | E. Coli 1,040 col / 100 ml | Phoenix Environmental | Yes |
| BRITONYDR-OT-001 | 10/17/22 | Bacteria | E. Coli 10 col / 100 ml | Phoenix Environmental | No |
| BRITONYDR-OT-002 | 10/17/22 | Bacteria | E. Coli 556 col / 100 ml | Phoenix Environmental | Yes |
| PINERDGLN-OT-001 | 10/17/22 | Bacteria | E. Coli 816 col / 100 ml | Phoenix Environmental | Yes |
| PUDDINLN-OT-004 | 10/17/22 | Bacteria | E. Coli >24,200 col / 100 ml | Phoenix Environmental | Yes |
| PUDDINLN-OT-003 | 10/17/22 | Bacteria | E. Coli >6,130 col / 100 ml | Phoenix Environmental | Yes |
| PUDDINLN-OT-001 | 10/17/22 | Bacteria | E. Coli >203 col / 100 ml | Phoenix Environmental | Yes |
| JACOBSRD-OT-001 | 10/17/22 | Bacteria | E. Coli >97 col / 100 ml | Phoenix Environmental | No |

## Follow-up Investigations

| Outfall ID | Status of drainage area investigation | Control measure implementation to address impairment |
| --- | --- | --- |
| HILLYNRD-OT-002 | Single Family Homes on Septic Systems with significant infestation of Gypsy Moths, Stormwater System was replaced in 2020 | Follow up testing in 2026 |
| HILLYNRD-OT-004 | Single Family Homes on Septic Systems with significant infestation of Gypsy Moths, Stormwater System was replaced in 2020 | Follow up testing in 2026 |
| HILLYNRD-OT-005 | Single Family Homes on Septic Systems with significant infestation of Gypsy Moths, Stormwater System was replaced in 2020 | Follow up testing in 2026 |
| HUNTINGRD-OT-001 | Single Family Homes on Septic Systems, Sanitary Sewer Force Main and Gravity Wastewater Treatment Facility Discharge | Follow up testing in 2026 |
| BIRCHRD-OT-001 |  | Follow up testing in 2026 |
| MANSFLD-OT-003 |  | Follow up testing in 2026 |
| DAVISRD-OT-004 |  | Follow up testing in 2026 |
| SPRINGRD-OT-001 |  | Follow up testing in 2026 |
| SPRINGRD-OT-002 |  | Follow up testing in 2026 |

## Prioritized Outfall Monitoring

Once outfall screening has been completed for at least 50% of outfalls to impaired waters, identify 6 of the highest contributors of any pollutants of concern. These outfalls will be tested annually starting in 2025.

| Outfall ID | Sample date | Parameter(s) | Results | Name of Laboratory (if used) |
| --- | --- | --- | --- | --- |
| HUNTINGRD-OT-001 | 2026 | Bacteria |  |  |
| SPRINGRD-OT-001 | 2026 | Bacteria |  |  |
| PUDDINLN-OT-004 | 2026 | Bacteria |  |  |
| DAVISRD-OT-004 | 2026 | Bacteria |  |  |
| PUDDINLN-OT-003 | 2026 | Bacteria |  |  |
| HILLYNRD-OT-004 | 2026 | Bacteria |  |  |

Additional IDDE Program Data

Following a public hearing on June 10, 2019, the town enacted a MS4 IDDE ordinance on July 11, 2019. This ordinance allows the Town to regulate the introduction of pollutants into the storm drainage system through stormwater by any user, as well as prohibit illicit connections and discharges to the storm drainage system. The town is legally authorized to carry out inspection, surveillance, and monitoring procedures in compliance with this ordinance.

## Assessment and Priority Ranking of Catchments

Provide a list of all catchments with ranking results (DEEP basins may be used instead of manual catchment delineations). The Town has not identified any problematic watersheds or excluded watersheds to date. As additional data is aggregated from testing it will be applied against existing GIS data identifying land use and infrastructure to assess and rank catchments.

| Catchment ID (DEEP Basin ID) | Category | Rank | Catchment ID (DEEP Basin ID) | Category | Rank |
| --- | --- | --- | --- | --- | --- |
| 3207-12-1 | High Priority | 1 | 3206-12-1-L2 | High Priority | 27 |
| 3208-01-1 | High Priority | 2 | 3206-13-1 | High Priority | 28 |
| 3208-00-1 | High Priority | 3 | 3206-13-1-L1 | High Priority | 29 |
| 3207-09-1 | High Priority | 4 | 3207-00-2-L4 | High Priority | 30 |
| 3207-10-1 | High Priority | 5 | 3207-00-2-L5 | High Priority | 31 |
| 3100-17-1 | High Priority | 6 | 3207-00-2-R10 | High Priority | 32 |
| 3200-00-4-L3 | High Priority | 7 | 3207-00-2-R11 | High Priority | 33 |
| 3206-00-3-R8 | High Priority | 8 | 3207-00-2-R12 | High Priority | 34 |
| 3208-03-1 | High Priority | 9 | 3207-00-2-R13 | High Priority | 35 |
| 3206-00-3-R7 | High Priority | 10 | 3207-00-2-R14 | High Priority | 36 |
| 3207-12-1-L1 | High Priority | 11 | 3207-00-2-R6 | High Priority | 37 |
| 3207-13-1 | High Priority | 12 | 3207-00-2-R7 | High Priority | 38 |
| 3208-02-2-R1 | High Priority | 13 | 3207-00-2-R8 | High Priority | 39 |
| 3206-11-1 | High Priority | 14 | 3207-00-2-R9 | High Priority | 40 |
| 3206-12-1 | High Priority | 15 | 3207-14-1 | High Priority | 41 |
| 3207-11-1 | High Priority | 16 | 3207-14-1-L1 | High Priority | 42 |
| 3100-18-1-L1 | High Priority | 17 | 3207-15-1 | High Priority | 43 |
| 3200-00-4-L1 | High Priority | 18 | 3207-15-1-L1 | High Priority | 44 |
| 3200-00-4-L2 | High Priority | 19 | 3100-16-1-L1 | High Priority | 45 |
| 3200-00-4-R11 | High Priority | 20 | 3100-19-1 | High Priority | 46 |
| 3200-00-4-R12 | High Priority | 21 | 3100-26-1 | High Priority | 47 |
| 3204-00-2-R1 | High Priority | 22 | 3208-00-2-R1 | High Priority | 48 |
| 3206-00-3-L3 | High Priority | 23 | 3208-02-1* | High Priority | 49 |
| 3206-00-3-R6 | High Priority | 24 | 3208-02-1-L1 | High Priority | 50 |
| 3206-00-3-R9 | High Priority | 25 | 3100-00-3-R15 | Low Priority | 51 |
| 3206-12-1-L1 | High Priority | 26 | 3100-00-3-R16 | Low Priority | 52 |
| 3100-00-3-R17 | Low Priority | 53 | 3100-22-1 | Low Priority | 66 |
| 3100-00-3-R19 | Low Priority | 54 | 3100-22-1-L1 | Low Priority | 67 |
| 3100-00-3-R2 | Low Priority | 55 | 3100-23-1 | Low Priority | 68 |
| 3100-00-3-R20 | Low Priority | 56 | 3100-24-1 | Low Priority | 69 |
| 3100-00-3-R3 | Low Priority | 57 | 3100-26-1-L1 | Low Priority | 70 |
| 3100-00-3-R4 | Low Priority | 58 | 3200-00-4-R13 | Low Priority | 71 |
| 3100-00-3-R5 | Low Priority | 59 | 3100-19-1-L1 | Low Priority | 72 |
| 3100-00-3-R6 | Low Priority | 60 | 3100-19-2-R1 | Low Priority | 73 |
| 3100-00-3-R7 | Low Priority | 61 | 3100-16-1 | Low Priority | 74 |
| 3100-17-1-L1 | Low Priority | 62 | 3207-16-1 | Low Priority | 75 |
| 3100-18-1 | Low Priority | 63 | 3100-00-3-R18 | Low Priority | 76 |
| 3100-20-1 | Low Priority | 64 | 3100-17-2-R1 | Low Priority | 77 |
| 3100-20-1-L1 | Low Priority | 65 |  |  |  |

## Outfall and Interconnection Screening and Sampling Data

## Dry Weather Screening and Sampling Data from Outfalls and Interconnections

The following table contains screening and sampling data from the highest priority watersheds indicated by

| Outfall / Interconnection ID | Screening / sample date | Ammonia (mg / ml) | Chlorine (mg / ml) | Conductivity (mg / ml) | Salinity (mg / ml) | E. Coli (col / ml) | Surfactants (mg/ml) | Water Temp | Pollutant of Concern | If required, follow-up actions taken |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| GURLYVLRD-OT-001 | 11/14/23 | <0.05 | <0.02 | 237 | <0.5 | 10 | <0.05 |  |  |  |
| GURLYVLRD-OT-004 | 11/14/23 | <0.05 | <0.02 | 291 | <0.5 | <10 | <0.05 |  |  |  |
| GURLYVLRD-OT-006 | 11/14/23 | <0.05 | <0.02 | 183 | <0.5 | <10 | <0.05 |  |  |  |
| STEARNSRD-OT-001 | 12/01/23 | <0.05 | <0.02 | 276 | <0.5 | <10 | <0.05 |  | Bacteria |  |
| STEARNSRD-OT-002 | 12/01/23 | 0.85 | <0.02 | 404 | <0.5 | 2,610 | <0.05 |  | Bacteria | Met with local farmer and USDA to improve manure management |
| PUPPINLN-OT-001 | 12/01/23 | <0.05 | <0.02 | 114 | <0.5 | 10 | <0.05 |  | Bacteria |  |
| MOULTON RD-07-002 | 2/14/24 | <0.05 | <0.02 | 358 | <0.5 | 10 | <0.05 |  |  |  |

## Wet Weather Sample and Inspection Data

Provide sample data for outfalls and key junction manholes of any catchment area with at least one System Vulnerability Factor.

| Outfall / Interconnection ID | Screening / sample date | Ammonia | Chlorine | Conductivity | Salinity | E. Coli or enterococcus | Surfactants | Water Temp | Pollutant of Concern | If required, follow-up actions taken |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| None |  |  |  |  |  |  |  |  |  |  |

## Catchment Investigation Data

## System Vulnerability Factor Summary

For those catchments being investigated for illicit discharges (i.e. categorized as high priority, low priority, or problem) document the presence or absence of System Vulnerability Factors (SVF). If present, report which SVF’s were identified. An example is provided below.

| Catchment ID | Receiving Water | System Vulnerability Factors |
| --- | --- | --- |
| 3207-12-1 / GURLYVLRD-OT-001 | Roberts Brook | Sanitary Sewer Pumping Stations, Sanitary Sewer >40 years old, Agriculture |
| 3208-01-1 / STEARNSRD-OT-002 | Conantville Brook | Drainage Systems >40 years old, Agriculture |

# Certification

| Certification |  |
| --- | --- |
| “I have personally examined and am familiar with the information submitted in this document and all attachments thereto, and I certify that, based on reasonable investigation, including my inquiry of those individuals responsible for obtaining the information, the submitted information is true, accurate and complete to the best of my knowledge and belief. I understand that a false statement made in this document or its attachments may be punishable as a criminal offense, in accordance with Section 22a-6 of the Connecticut General Statutes, pursuant to Section 53a-157b of the Connecticut General Statutes, and in accordance with any other applicable statute.” |  |
| Chief Elected Official or Principal Executive Officer | Document Prepared by |
| Print name: Ryan J. Aylesworth | Print name: Derek M Dilaj, PE |
| Signature / Date: | Signature / Date: |